## PVSS_FGC_specs_S78
* must be completed
#GTW* | NAME* | DESCRIPTION* | APPLICATION* | WORLDFIP BUS* | WORLDFIPAGENT NUMBER* | DOMAIN* | TEMP_1_1 | TEMP_1_2 | NATURE* | TEMP_2_1 | TEMP_2_2 | FORMAT_I* | FORMAT_V* | MIN_I* | MAX_I* | MIN_V* | MAX_V* | DEADBAND_I* | DEADBAND_TYPE_I* | DEADBAND_V* | DEADBAND_TYPE_V* | ARCHIVE_I_REF* | ARCHIVE_I_MEAS* | ARCHIVE_V_REF* | ARCHIVE_V_MEAS* | ARCHIVE_ST_FAULTS* | ARCHIVE_ST_UNLATCHED | ARCHIVE_ST_WARNINGS | ARCHIVE_ST_GTWDEV* | ARCHIVE_ACTIVE* | OUTPUT ADDRESS (Y/N)* | DI/DT MIN* | DIT/DT MAX*
Note on S4: Value for the Driver Smoothing
Note on T4: 0 = No DeadBand 1 = Range DeadBand 2 = Relatif DeadBand
Note on U4: Value for the Driver Smoothing
Note on V4: 0 = No DeadBand 1 = Range DeadBand 2 = Relatif DeadBand
Note on W4: Choices: A = Active (Old/New smoothing) N = No Active VA/'value' = Absolute Value smoothing VR/'value' = Relative Value Smoothing
Note on X4: Choices: A = Active (Old/New smoothing) N = No Active VA/'value' = Absolute Value smoothing VR/'value' = Relative Value Smoothing
Note on Y4: Choices: A = Active (Old/New smoothing) N = No Active VA/'value' = Absolute Value smoothing VR/'value' = Relative Value Smoothing
Note on Z4: Choices: A = Active (Old/New smoothing) N = No Active VA/'value' = Absolute Value smoothing VR/'value' = Relative Value Smoothing
Note on AA4: Choices: A = Active (Old/New smoothing) N = No Active
Note on AB4: A = Active (Old/New smoothing) N = No Active
Note on AC4: A = Active (Old/New smoothing) N = No Active
Note on AD4: A = Active (Old/New smoothing) N = No Active
Note on AE4: Choices: A = Active N = No Active